## Disclaimer
TasNetworks - Annual Planning Report 2024 - Supplementary Information
This information contained in this file forms part of TasNetworks Annual Planning Report 2024.
This Annual Planning Report (APR) has been prepared and published by Tasmanian Networks Pty Ltd (TasNetworks) solely for the purposes of TasNetworks’ compliance with regulatory obligations, including sections 5.12.2 and 5.13.2 of the National Electricity Rules and our transmission licence. The APR sets out network planning proposals, scenarios and forecasts as at the date of publication, which may change at any time or not eventuate. It has been prepared in good faith, including information and assumptions provided by third parties without further verification. It may not contain all information on the subject matter. Nothing in this APR should be taken as a recommendation in respect of any possible investment. Anyone considering using the information contained in this document should independently verify the currency, reliability, accuracy and completeness of the information. Accordingly, reliance should not be placed on the information contained in this document and TasNetworks makes no representation or warranty as to the reliability, accuracy or completeness of the information, or its suitability for any purpose other than the purpose for which it has been prepared. To the maximum extent permitted by law, TasNetworks, its employees, agents and consultants will have no liability for any loss or damage arising out of, or in connection with, the statements, opinions or other information in this document (including liability by reason of negligence or negligent misstatement).

## Notes & Definitions
Field | Definition | Comments | Constraint Primary Driver | Network Element
Limitation # | Limitation identified | For the purposes of this distribtion system limitations report only | Capacity | Transmission connection point
Planning area | TasNetworks geopgraphical planning area | As identified in the Annual Planning Report | Reliability | Zone substation
Limitation | Description of the limitation | As identified in the Annual Planning Report | Asset condition | Sub-transmission line
Constraint primary driver | Category of the constraint primary driver | To be one of: capacity, reliability, asset condition, performance, safety, environment, power quality, voltage | Performance | Feeder
Location of constraint (start) | Latitude and longitude of the start of the constraint |  | Safety
Location of constraint (end) | Latitude and longitude of the end of the constraint | Where the start and end location of the constraint are the same, this category will be left blank | Environment
Asset ID | Identification number of the constrained asset | Consistent with (RIN) Category Analysis Template for feeders. Other assets did not have allocated IDs in the Category Analysis Template and provided with TasNetwork identifiers. | Power quality
Network element | Category of the network element | To be one of: transmission connection point, zone substation, sub-transmission line, feeder | Voltage
Residential customers affected | Total number of residential customers affected by the constraint | Number of residential customers supplied from the network element
| Affected residential customers as a % of total customers affected | Calculated as number of residential customers supplied from the network element divided by total customers supplied from the network element
Asset rating (MVA and MW) | Forecast 5 year asset rating | The rating of the constrained network element, seasonal to that of the period of constraint if applicable - else the maximum rating, and either total or firm rating as appropriate
Forecast demand (MVA and MW) | Forecast 5 year maximum demand (10% and 50% POE) | Provided for where available - we do not develop a 10% POE forecast for the sub-transmission and distribution network
Voltage level (kV) | Voltage level of constraint | Highest operational voltage level of the assets involved in the constraints
Maximum load at risk (MW) | Forecast for all years the constraint occurs | For capacity constraints, this is the amount of load between the forecast maximum load demand and the asset rating (firm rating where appropriate). For asset condition constraints, this is the maximum demand on the asset, and is only considered from when the asset condition constraint is forecast to occur.
Energy at risk (MWh) | Forecast for all years the constraint occurs | For capacity constraints, it is the annual forecast energy that exceeds the asset rating (firm rating where appropriate). For asset condition constraints, this is calculated as the annual energy at risk if the asset were retired and not replaced, and is only considered from when the constraint is forecast to occur. Load transfer capabilities are not accounted for in this calculation.
Preferred network investment | The preferred solution to address the constraint | As identified in the Annual Planning Report
Preferred network investment capital cost | The capital cost of the preferred network investment | As identified in the Annual Planning Report
Preferred annual network investment operating cost | Annual operating costs of the preferred network investment | Annual operating costs have been calculated using a fixed percentage (0.5%) of the capital cost
Preferred network investment cost accuracy | +/- accuracy of capital cost estimate
Proposed timing | Proposed timing of implementation of preferred network investment | June is used where we have not determined the implementation month
Demand reduction required to defer investment by 1 year (MVA and MW) | Demand reduction to defer investment | Equal to the Maximum load at risk. If the constraint is forecast to occur outside the five-year window, the maximum load at risk that would otherwise be apparent in the last year of the five-year window is used.
Annual deferral value | Benefit in deferring network investment by 1 year | Calculated using TasNetworks pre-tax real WACC
Load transfer capability (MVA and MW) | Load transfer capacity away from point of constraint | As provided in associated 'Maximum demand forecasts' downloadable appendix to the Annual Planning Report
Emergency generation (MVA and MW) | Total of emergency generation available at point of constraint | We do not currently have any contracts for emergency generation
Historic use of emergency response (MVA abd MW) | Half-hourly data of historic emergency response use | We do not currently have any contracts for emergency generation
Historic load trace (MVA) | Half-hourly data of historic load | Three-year historic load trace of constrained network element
Historic asset rating (MVA and MW) | Historic rating of constrained network element | Three-year historic asset rating of constrained network element, either total or firm rating as appropriate. Rating in MVA (we do not use MW asset ratings).
The limitations identified in this distribution system limitations report are those that are identified under clauses S5.8(b1), (c) and (d) only of the National Electricity Rules for the Distribution Annual Planning Report. Any information provided in this distribution system limitations report must be read in conjunction with the Annual Planning Report.

## System limitations
Limitation # |  |  |  | Limitation 1 | Limitation 2
Planning area |  |  |  | Southern | Southern
Limitation |  |  |  | Knights Road Substation distribution feeder overload (Summer) | Creek Rd-Sandy Bay 33 kV Sub-transmission lines
Constraint primary driver |  |  |  | Capacity | Capacity
Location of constraint | Start |  |  | -43.023, 147.074 | -42.859, 147.291
| End |  |  | - | -42.905, 147.327
Asset ID |  |  |  | Feeder 30604 | 33kV Feeders 10008, 10022 and 10024
Network element |  |  |  | Feeder | Sub-transmission line
Residential customers affected | Number |  |  | 85 | 8789
| % of total customers |  |  | 46.9613 | 91.9929
Asset rating (MVA) | 2024 |  |  | 5.3347 | 60
| 2025 |  |  | 5.3347 | 60
| 2026 |  |  | 5.3347 | 60
| 2027 |  |  | 5.3347 | 60
| 2028 |  |  | 5.3347 | 60
Forecast demand | MVA | 10% POE | 2024 | 5.5252 | 41.6706
|  |  | 2025 | 5.6015 | 40.9112
|  |  | 2026 | 5.792 | 41.7626
|  |  | 2027 | 5.9253 | 42.6287
|  |  | 2028 | 5.9635 | 42.717
|  | 50% POE | 2024 | 5.2395 | 39.5781
|  |  | 2025 | 5.3157 | 38.8775
|  |  | 2026 | 5.5062 | 39.6366
|  |  | 2027 | 5.6396 | 40.3572
|  |  | 2028 | 5.6777 | 40.6168
| MW | 10% POE | 2024 | 5.249 | 40.7705
|  |  | 2025 | 5.3214 | 40.0275
|  |  | 2026 | 5.5024 | 40.8606
|  |  | 2027 | 5.6291 | 41.708
|  |  | 2028 | 5.6653 | 41.7943
|  | 50% POE | 2024 | 4.9775 | 38.7232
|  |  | 2025 | 5.0499 | 38.0377
|  |  | 2026 | 5.2309 | 38.7804
|  |  | 2027 | 5.3576 | 39.4855
|  |  | 2028 | 5.3938 | 39.7394
Voltage Level (kV) |  |  |  | 11 | 33
Maximum load at risk (MW) | 2024 |  |  | 0 | 0
| 2025 |  |  | 0 | 0
| 2026 |  |  | 5.2309 | 0
| 2027 |  |  | 5.3576 | 39.4855
| 2028 |  |  | 5.3938 | 39.7394
Energy at risk (MWh) | 2024 |  |  | 0 | 0
| 2025 |  |  | 0 | 0
| 2026 |  |  | 229706.95 | 0
| 2027 |  |  | 235270.7862 | 796899.259
| 2028 |  |  | 236860.4536 | 802024.3409
Preferred network investment |  |  |  | Establish a new distribution feeder from Knights Road Substation | Uprate overhead conductor sections to 75 degrees celsius
Preferred network investment capital cost ($) |  |  |  | 900000 | 1200000
Preferred annual network investment operating cost ($) |  |  |  | 4500 | 6000
Preferred network investment cost accuracy (±%) |  |  |  | ±30 | ±30
Proposed timing (mm/yyyy) |  |  |  | 2025-06-01 | 2026-06-01
Demand reduction required to defer investment by 1 year | MVA |  |  | 0.31579 | 1.4309
| MW |  |  | 0.3 | 1.4
Annual deferral value ($) |  |  |  | 27900 | 37200
Load transfer capability | MVA |  |  | 3.8105 | 14.1047
| MW |  |  | 3.62 | 13.8
Emergency generation | MVA |  |  | 0 | 0
| MW |  |  | 0 | 0
Historic use of existing emergency response | MVA |  |  | - | -
| MW |  |  | - | -
Historic load trace (MVA) |  |  |  | Feeder 30604 load | Creek Rd - Sandy Bay load
Historic asset rating (MVA) |  |  |  | Feeder 30604 rating | Creek Rd to Sandy Bay rating
0.5%
3.1%