## Cover Page
TasNetworks
Expression of Interest for the provision of:
Inertia Network Services
Inertia Support Activities
System Strength Services
Depending on the type of non-network option being proposed, Recipients must complete the relevant part(s) of this Schedule 2. Sections (worksheets) which are not relevant do not need to be completed and may be deleted.
Use of this spreadsheet for submission of Schedule 2 data will be accepted as a compliant submission for the EOI process.
Important Acronyms
BESS | Battery Energy Storage System
FCAS | Frequency Control Ancillary Services
SC | Synchronous Condenser
SG | Synchronous Generator
Revision | Date
1 | 2022-04-04
2 | 2023-07-25

## SG - Schedule 2 (Part 1)
Recipient Identification: | [Please provide Recipient Business Name (or other ID) and date of EOI submission]
The Recipient proposes to provide System Strength Services indicated below using the following SG unit(s) while participating in the wholesale energy market.
System Strength Services | X | X | X | X | X | X | Given the current rules framework for inertia, only system strength services need to be considered.
Description of Facilities | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6 (Add more columns as reqd) | Supporting Notes
Station/unit name and ID:
Existing or proposed: | [6 empty] | Is the unit already operational or proposed to be constructed? If proposed, when will the Service be available?
Nameplate MVA rating:
Network connection point: | [6 empty] | Please describe the location of the existing or proposed network connection point including voltage level.
Modelling data: | [6 empty] | Please indicate whether modelling data is available to assess the facility in power system simulation software and if this data is already part of an existing network connection agreement.
Proposed Performance Levels | The Recipient proposes to meet the following performance requirements.
Expected availability (per annum): | [6 empty] | [hrs/year or %] considering expected maintenance, forced outage rates and any other operational limitations that may exist.
Expected capacity factor (per annum) | [6 empty] | [%] – Represents expected percentage of time that the synchronous generator will be online and participating in the energy market as influenced by fuel availability, operational constraints, and other influences.
(*) Inertia provided when operating in SG mode: | [6 empty] | [MW.s]
(*) Contribution to three phase fault level at the network connection point: | [6 empty] | [MVA @ 1.0 p.u terminal voltage, rated MW, unity PF]
(*) Reactive power generation capability of the SG when dispatched for the Services at rated MW loading: | [6 empty] | [Over excited MVAr limit @ rated MW @ machine terminals]
(*) Reactive power absorption capability of the SG when dispatched for the Services at rated MW loading: | [6 empty] | [Under excited MVAr limit @ rated MW @ machine terminals]
(*) This information is only required for new synchronous generators not already connected to the Tasmanian power system and for which steady state and dynamic modelling information has not previously been provided to TasNetworks.

## SG - Schedule 2 (Part 2)
Recipient Identification: | [Please provide Recipient Business Name (or other ID) and date of EOI submission]
The Recipient proposes to provide the Services indicated below using the following SG unit(s) operating at minimum power output when instructed to do so by AEMO or TasNetworks.
Inertia Network Services | X | X |  |  |  |  | Please mark one or more of the boxes for each BESS unit with an 'X' (as shown by way of example only).
System Strength Services | X
Description of Facilities | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6 (Add more columns as reqd) | Supporting Notes
Station/unit name and ID:
Existing or proposed: | [6 empty] | Is the unit already operational or proposed to be constructed? If proposed, when will the Service be available?
Nameplate MVA rating:
Network connection point: | [6 empty] | Please describe the location of the existing or proposed network connection point including voltage level.
Modelling data: | [6 empty] | Please indicate whether modelling data is available to assess the facility in power system simulation software and if this data is already part of an existing network connection agreement.
Proposed Performance Levels | The Recipient proposes to meet the following performance requirements.
Time to commence delivery of the Services following receipt of an instruction from AEMO: | [6 empty] | [mins], Synchronisation time to be considered.
Are there any environmental, commercial or operational restrictions that can prevent the SG from being normally available? | [6 empty] | Please describe any operational limits that may impact on availability.
Expected availability (per annum): | [6 empty] | [hrs/year or %] considering expected maintenance, forced outage rates and any other operational limitations that may exist.
Minimum MW loading for continuous SG operation: | [6 empty] | [MW]
Maximum time that SG mode can be sustained at minimum load once enabled: | [6 empty] | Please describe any operational limits.
(*) Inertia provided when operating in SG mode: | [6 empty] | [MW.s]
(*) Contribution to three phase fault level at the network connection point: | [6 empty] | [MVA @ 1.0 p.u terminal voltage, min MW, unity PF]
(*) Reactive power generation capability of the SG when dispatched for the Services at minimum MW loading: | [6 empty] | [Over excited MVAr limit @ min MW @ machine terminals]
(*) Reactive power absorption capability of the SG when dispatched for the Services at minimum MW loading: | [6 empty] | [Under excited MVAr limit @ min MW @ machine terminals]
(*) This information is only required for new synchronous generators not already connected to the Tasmanian power system and for which steady state and dynamic modelling information has not previously been provided to TasNetworks.

## SC - Schedule 2 (Part 3)
Recipient Identification: | [Please provide Recipient Business Name (or other ID) and date of EOI submission]
The Recipient proposes to provide the Services indicated below using the following SC unit(s) when instructed to do so by AEMO or TasNetwork.
Inertia Network Services | X | X |  |  |  |  | Please mark one or more of the boxes for each BESS unit with an 'X' (as shown by way of example only).
System Strength Services | X
Description of Facilities | Unit #1 | Unit #2 | Unit #3 | Unit #4 | Unit #5 | Unit #6 (Add more columns as reqd) | Supporting Notes
Station/unit name and ID:
Existing or proposed: | [6 empty] | Is the unit already operational or proposed to be constructed? If proposed, when will the Service be available?
Nameplate MVA rating:
Network connection point: | [6 empty] | Please describe the location of the existing or proposed network connection point including voltage level.
Modelling data: | [6 empty] | Please indicate whether modelling data is available to assess the facility in power system simulation software and if this data is already part of an existing network connection agreement.
Proposed Performance Levels | The Recipient proposes to meet the following performance requirements.
Time to commence delivery of the Services following receipt of an instruction from AEMO: | [6 empty] | [mins], Synchronisation time to be considered.
Maximum time that SC mode can be sustained once enabled: | [6 empty] | Please describe any operational limits.
Are there any environmental, commercial or operational restrictions that can materially reduce the availability of the SC? | [6 empty] | Please describe any operational limits that may impact on availability, e.g. lake levels restrictions etc.
Expected availability for SC operation per annum: | [6 empty] | [hrs/year or %] considering expected maintenance, forced outage rates and any other operational limitations that may exist.
Active power drawn from the network when operating as a SC: | [6 empty] | [MW at meter point]
Can the SC also be enabled to provide other Market Services at the same time? | [6 empty] | [Yes/No], If yes, which services? Example: FCAS
(*) Inertia provided when operating in SC mode: | [6 empty] | [MW.s]
(*) Contribution to three phase fault level at the network connection point: | [6 empty] | [MVA @ 1.0 p.u terminal voltage, unity PF]
(*) Reactive power generation capability of the SC when dispatched for the Services: | [6 empty] | [Over excited MVAr limit @ machine terminals]
(*) Reactive power absorption capability of the SC when dispatched for the Services: | [6 empty] | [Under excited MVAr limit @ machine terminals]
(*) This information is only required for new synchronous generators not already connected to the Tasmanian power system and for which steady state and dynamic modelling information has not previously been provided to TasNetworks.

## BESS - Schedule 2 (Part 4)
Recipient Identification: | [Please provide Recipient Business Name (or other ID) and date of EOI submission]
The Recipient proposes to provide the Services indicated below using the following BESS unit(s).
Inertia Network Services | X |  |  | Please mark one or more of the boxes for each BESS unit with an 'X' (as shown by way of example only).
Inertia Support Activities |  |  | X
System Strength Services | X | X
Description of Facilities | Unit #1 | Unit #2 | Unit #3 (Add more columns as reqd) | Supporting Notes
Facility name and ID:
Existing or proposed: |  |  |  | Is the unit already operational or proposed to be constructed? If proposed, when will the Service be available?
Nameplate MW/MWh rating: |  |  |  | Please indicate active power rating for both charge and discharge cycles (if different) as well as energy storage capacity.
Network connection point: |  |  |  | Please describe the location of the existing or proposed network connection point including voltage level.
Modelling data: |  |  |  | Please indicate whether modelling data is available to assess the BESS in power system simulation software (and which formats) and if this data is already part of an existing network connection agreement.
Proposed Performance Levels | The Recipient proposes to meet the following performance requirements.
Time to commence delivery of the Services following receipt of an instruction from AEMO: |  |  |  | [mins] If services are to be provided on a continuous basis, please describe intended delivery arrangements.
Expected operating strategy for the BESS: |  |  |  | Please describe in general terms how the BESS will be operated including intended energy management approach, e.g. anticipated to operate with 25% capacity margin when charging / discharging etc.
Expected availability (per annum): |  |  |  | [hrs/year or %]
Converter control design: |  |  |  | [Grid-forming or grid-following] plus any additional descriptions considered appropriate.
For grid-following BESS, required Minimum Short Circuit Ratio (MSCR) at connection point for stable operation of equipment: |  |  |  | [MSCR at connection point, N/A for grid-forming device]
Contribution to three phase fault level at the network connection point: |  |  |  | [MVA], Fault current in-feed for a three phase fault at the connection point.
Dynamic overload capability: |  |  |  | Please describe any dynamic overload capability beyond the nameplate rating of the BESS and associated time limits. If in 'per unit', please provide base value.
For grid-forming BESS, proposed setting of inertia constant and/or potential range of settings that can be considered: |  |  |  | Inertia constant [s]. TasNetworks will need to validate the inertial response characteristics using modelling data provided by the Recipient. The equivalent inertia contribution will be analysed over a range of operating conditions from maximum charge to maximum discharge.
Reactive power generation capability of the BESS when enabled for the Services: |  |  |  | [Over excited MVAr limit @ max -MW] [Over excited MVAr limit @ 0 MW] [Over excited MVAr limit @ max +MW]
Reactive power absorption capability of the BESS when enabled for the Services: |  |  |  | [Over excited MVAr limit @ max -MW] [Over excited MVAr limit @ 0 MW] [Over excited MVAr limit @ max +MW]
Can the BESS also be enabled to provide other Market Services at the same time? |  |  |  | [Yes/No], If yes, which services? Example: FCAS
Please note that in addition to fault current injection, TasNetworks will assess contributions to other aspects of system strength via simulations using modelling data that is to be provided by the Recipient.

## Other - Schedule 2 (Part 5)
Recipient Identification: | [Please provide Recipient Business Name (or other ID) and date of EOI submission]
The Recipient proposes to provide the Services indicated below using the following technologies:
Inertia Network Services | X |  |  | Please mark one or more of the boxes for each BESS unit with an 'X' (as shown by way of example only).
Inertia Support Activities |  |  | X
System Strength Services | X | X
Description of Facilities | Unit #1 | Unit #2 | Unit #3 (Add more columns as reqd) | Supporting Notes
Facility name and ID:
Existing or proposed: |  |  |  | Is the unit already operational or proposed to be constructed? If proposed, when will the Service be available?
Facility type: |  |  |  | Please describe the facility being offered to provide the Service/s.
Network connection point: |  |  |  | Please describe the location of the existing or proposed network connection point including voltage level.
Modelling data: |  |  |  | Please indicate whether modelling data is available to assess the facility in power system simulation software (and which formats) and if this data is already part of an existing network connection agreement.
Proposed Performance Levels | The Recipient proposes to meet the following performance requirements.
Time to commence delivery of the Services following receipt of an instruction from AEMO: |  |  |  | [mins]
Intended operating strategy to deliver the Services: |  |  |  | Please describe how the technology will provide the Services and any other network benefits that can or will be provided in conjunction, e.g. reactive power support etc
Expected availability (per annum): |  |  |  | [hrs/year or %]
Limitations on delivery of the Services: |  |  |  | Please describe.
Can the facility also be enabled to provide other Market Services at the same time? |  |  |  | [Yes/No], If yes, which services? Example: FCAS